## Sheet1
Date | Centre | Radiographer | Detector Flat Field Calibration | Artifact Rh kV | Artifact Rh mAs | Artifact Rh Result | Artifact Ag kV | Artifact Ag mAs | Artifact Ag Result | Artifact Al kV | Artifact Al mAs | Artifact Al Result | 2D kV | 2D mAs | 2D AGD | 2D Fibers | 2D Specs | 2D Mass | 2D Artifact | 2D Result | DBT kV | DBT mAs | DBT AGD | DBT Fibers | DBT Specs | DBT Mass | DBT Artifact | DBT Result | 2D SNR | DBT SNR | SNR Result | Comments | Final Result
2026-05-08 | Κέντρο Μαστογραφίας Λευκωσίας - Κ.Υ. Αγλαντζιάς |  | ΝΑΙ | 0 | 0 | ΝΑΙ | 0 | 0 | ΝΑΙ | 0 | 0 | ΝΑΙ | 0 | 0 | 0 | 0 | 0 | 0 | ΟΧΙ | FAIL | 0 | 0 | 0 | 0 | 0 | 0 | ΟΧΙ | FAIL | 0 | 0 | FAIL |  | FAIL